## Solar Load Calculator
⚡ ENERGYBAE — Solar Load Calculator
Electricity Bill → Solar System Sizing Automation
SECTION 1 — Customer & Bill Information
Consumer Name
Consumer Number
Meter Number
Billing Month
Billing Address
MSEDCL Division
SECTION 2 — Consumption & Tariff Data
Units Consumed (kWh/month)
Sanctioned Load (kW)
Connected Load (kW)
Contract Demand (kVA)
Tariff Category
Per Unit Rate (₹/kWh)
Fixed Charges (₹/month)
Total Monthly Bill (₹)
Annual Units Consumed (kWh)
SECTION 3 — Solar System Assumptions
| Peak Sun Hours (hrs/day) | 4.5
| System Efficiency (%) | 80%
| Solar Panel Wattage (Wp) | 540
| Cost per kWp (₹) | 55000
| Subsidy (%) | 30%
| Annual Degradation Rate (%) | 0.5%
| System Lifespan (Years) | 25
SECTION 4 — Solar System Sizing Results
Daily Energy Requirement (kWh/day)
Required Solar Capacity (kWp)
Recommended System Size (kWp)
Number of Solar Panels Required
Rooftop Area Required (sq. ft.)
Estimated Annual Generation (kWh)
SECTION 5 — Financial Analysis & ROI
Gross System Cost (₹)
Subsidy Amount (₹)
Net System Cost After Subsidy (₹)
Annual Savings (₹)
Payback Period (Years)
25-Year Total Savings (₹)
CO₂ Offset (Tonnes/Year)
✅ RECOMMENDATION SUMMARY
Customer
Billing Month
Monthly Units (kWh)
Recommended Size (kWp)
No. of Panels
Net Cost (₹)
Payback Period (Yrs)
Annual Savings (₹)
Generated by EnergyBae Solar Load Calculator AI ¦ energybae.co@gmail.com